## Slide 1
Smartphone / laptop
Browser at 192.168.4.1
WiFi AP
XIAO ESP32-C3
Web server + sweep controller + ADC readout
SPI (D7, D8, D10)
I2C (D4, D5)
D6
ADF4351
Frequency synthesiser
NeoPixel LEDs
TSL2591
Light sensor (IR)
2.2–4.4 GHz
Optical bench (openUC2 modular cubes)
Green laser
532 nm
excitation
NV diamond
on microwave antenna
~100 µm
microwave drive
Dichroic
beam splitter
red fluorescence
Measurement flow (SSE streaming)
Set frequency
PLL settle
Read IR
Stream SSE
Plot
Repeat for each frequency step (f_begin → f_end)